## Slide 1
2901_protWZ.csv
3901_protWZ.csv
4901_protWZ.csv
1901_protWZ.csv
01 Optimization of District Heating

## Slide 2
2901_protWZ.csv
3901_protWZ.csv
4901_protWZ.csv
1901_protWZ.csv
Biomass
Peak
Peak
Storage

## Slide 3
Challenge
Biomass
Gas peak
Gas peak
Storage
Decrease gas peak boiler runtime due to better storage operation
3. better storage operation 2. improved storage control 1. heat demand forecast

## Slide 4
District Heating Network
Heat
Station
6
1
2
3
4
5
7
8
9
650 kW
1_prot.csv
90 kW
2_prot.csv
160 kW
3_prot.csv
60 kW
4_prot.csv
100 kW
5_prot.csv
350 kW (07/2018)
8_prot.csv
60 kW (10/2018)
9_prot.csv
850 kW
1006_protWZ.csv
6_protSPS.csv1
30 kW (01/2018)
7_prot.csv
901_protSPS.csv Heat station (store, pumps, etc.)
2901_protWZ.csv Wood-fired boiler
3901_protWZ.csv Gas-fired boiler 1
4901_protWZ.csv Gas-fired boiler 2
X
<nominal power> (<date of connection>)
<data file>
Legend:

## Slide 5
District Heating Network
Heat
Station
6
1
2
3
4
5
7
8
9
Lastprofil alle
Lastprofil Verbraucher 2
Lastprofil Verbraucher 1

## Slide 6
Correlation ambient temperature
For daily forecasts the ambient temperature maybe important or not

## Slide 7
Correlation other independent parameters
The weekday may be important or not

## Slide 8
Main consumers
2/4 von 10 dominate the heat required!

## Slide 9
Main consumer 1 correlation: AI forecast algorithm

## Slide 10
Further proceeding
Finalize forecast algorithm
Develop concept for new control settings
  Set point biomass boiler + set point storage vessel
New control settings implementation
  Simulation with existing data: do settings make sense?
  New main control settings manually
  New main control settings auto
Transfer to other CH district heating systems

## Slide 11
01 Optimization of District Heating
Team
Andy Gubser
Emilie Boillat (remote)
Martin Horeni
Marvin Grass
Toni Wietlisbach (AEW, owner)
Wolfram Willuhn